# Instruction Sheet

HemaPro 2000 Probe 10K Ohm Check

- The refrigerator and freezer hemapro 2000 sensor is 10k ohm RTD.  Using volt meter measure pins1 & 5 and cross reference to temperature versus resistance chart below.

Product Serial # or model #

Revision Date: December 5, 2016